!

WARNING

ARC FLASH AND SHOCK HAZARD

APPROPRIATE PPE REQUIRED

1’- 3”	          Arc Flash Boundary

0.9	          cal/cm2 at 18”- Arc Flash Incident Energy

Refer to NFPA 70E-2015 Table H.3(b)

480	         V Shock Hazard when cover is removed

3’-6”	         Limited Approach

1’-0”	         Restricted Approach - Class 00 Voltage Gloves

Equipment Name: #15 CCA6 East         (Fed by: PNL E)

Incident Energy was calculated based on equipment operated and maintained as per MFR

Instructions. Changes in equipment settings or system configuration will invalidate the calculated

Values and PPE requirements which may result in a hazardous condition.  Study Date: 1-19-2015